## Slide 1: Overall Proficiency Assessment in Point-of-Care Ultrasound Interventions: The Stopwatch is not enough
Matthew S. Holden, Zsuzsanna Keri, Tamas Ungi, Gabor Fichtinger
Laboratory for Percutaneous Surgery, School of Computing, Queen’s University, Kingston, Canada

## Slide 2: Competency-Based Medical Education
Chart: Session
Trainee 1 | -21.3041 | -19.6574 | -18.1379 | -16.7359 | -15.4423 | -14.2486 | -13.1473 | -12.131 | -11.1933 | -10.3281 | -9.5298 | -8.7931 | -8.1135 | -7.4863 | -6.9076 | -6.3737 | -5.881 | -5.4264 | -5.007 | -4.62
Trainee 2 | -18.5899 | -14.235 | -10.9002 | -8.3467 | -6.3913 | -4.8941 | -3.7476 | -2.8696 | -2.1974 | -1.6826 | -1.2884 | -0.9866 | -0.75548 | -0.57849 | -0.44297 | -0.3392 | -0.25974 | -0.19889 | -0.1523 | -0.11662
Trainee 3 | -12.5883 | -11.5855 | -10.6625 | -9.8131 | -9.0314 | -8.3119 | -7.6497 | -7.0403 | -6.4795 | -5.9633 | -5.4882 | -5.051 | -4.6486 | -4.2783 | -3.9375 | -3.6238 | -3.3351 | -3.0694 | -2.8249 | -2.5998
Trainee 4 | -12.2244 | -11.6205 | -11.0464 | -10.5007 | -9.982 | -9.4888 | -9.0201 | -8.5745 | -8.1509 | -7.7482 | -7.3654 | -7.0016 | -6.6557 | -6.3269 | -6.0143 | -5.7172 | -5.4348 | -5.1663 | -4.9111 | -4.6684
Trainee 5 | -29.5384 | -27.0949 | -24.8535 | -22.7975 | -20.9116 | -19.1817 | -17.5949 | -16.1394 | -14.8042 | -13.5796 | -12.4562 | -11.4258 | -10.4806 | -9.6136 | -8.8183 | -8.0888 | -7.4197 | -6.8059 | -6.2429 | -5.7264
Trainee 6 | -19.3755 | -17.3418 | -15.5216 | -13.8924 | -12.4342 | -11.1291 | -9.961 | -8.9155 | -7.9797 | -7.1421 | -6.3925 | -5.7215 | -5.121 | -4.5835 | -4.1024 | -3.6718 | -3.2864 | -2.9414 | -2.6327 | -2.3564
Trainee 7 | -0.53151 | -0.014234 | -0.00038118 | -1.0208e-05 | -2.7338e-07 | -7.3211e-09 | -1.9606e-10 | -5.2505e-12 | -1.4061e-13 | -3.7655e-15 | -1.0084e-16 | -2.7006e-18 | -7.2321e-20 | -1.9368e-21 | -5.1867e-23 | -1.389e-24 | -3.7198e-26 | -9.9616e-28 | -2.6677e-29 | -7.1443e-31
Trainee 8 | -18.7217 | -16.9976 | -15.4323 | -14.0111 | -12.7209 | -11.5494 | -10.4858 | -9.5202 | -8.6435 | -7.8475 | -7.1248 | -6.4687 | -5.873 | -5.3322 | -4.8411 | -4.3953 | -3.9906 | -3.6231 | -3.2894 | -2.9865
Trainee 9 | -20.8235 | -19.1065 | -17.5311 | -16.0856 | -14.7592 | -13.5423 | -12.4257 | -11.4011 | -10.461 | -9.5985 | -8.807 | -8.0808 | -7.4145 | -6.8032 | -6.2422 | -5.7275 | -5.2553 | -4.8219 | -4.4244 | -4.0595
Trainee 10 | -20.4262 | -18.7097 | -17.1375 | -15.6975 | -14.3784 | -13.1702 | -12.0635 | -11.0498 | -10.1213 | -9.2708 | -8.4917 | -7.7782 | -7.1246 | -6.5259 | -5.9775 | -5.4752 | -5.0151 | -4.5937 | -4.2077 | -3.8541
Benchmark
“Practice until proficient.”

## Slide 3: FAST Ultrasound
Holden et al. CARS 2015.

## Slide 4: Ultrasound-Guided Central Line
McGraw et al. CJEM 2016.

## Slide 5: Lumbar Puncture
Yeo et al. AEM 2015.

## Slide 6: Proficiency Assessment
What we measure |  | Assessment
Time Instrument efficiency Hand motion Needle-tissue interaction Motion fluidity etc. |  | 
Time/motion | 3
Instrument handling | 4
Tissue respect | 2
… | 
Procedure knowledge | 4
A+ … F
Pass Fail

## Slide 7: Objective
Determine which metrics are necessary for overall proficiency assessment in point-of-care ultrasound applications.

## Slide 8: FAST Ultrasound
Holden et al. CARS 2015.
Completion time (s)
Probe path length (mm)
Points missed (%)

## Slide 9: Ultrasound-Guided Central Line
McGraw et al. CJEM 2016.
1
2
1
2
Hand translational actions
Hand path length (mm)
Hand rotational actions
Completion time (s)

## Slide 10: Lumbar Puncture
Yeo et al. AEM 2015.
Completion time (s)
Hand path length (mm)
Needle path length (mm)
Needle time in tissue (mm)
Needle path in tissue (mm)
Tissue damage (mm2)

## Slide 11: Metric Validity
p<0.05?

## Slide 12: Metric Validity
Difference in metric values for groups
Chart: Metric Value
Expert | 0 | 2 | 5 | 5 | 14 | 10 | 7 | 5 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Novice | 0 | 0 | 1 | 0 | 1 | 2 | 2 | 3 | 3 | 3 | 4 | 6 | 3 | 3 | 7 | 4 | 2 | 1 | 1 | 2 | 2

## Slide 13: Metric Validity
Difference in split groups
Chart: 
| 4.0368776367547934 | 2.8403517366669271 | 6.1037385554622947 | 4.5319722555067532 | 5.3750369036691223 | 5.7759789412319247 | 5.176606051512727 | 7.309487582069603 | 6.5084855554604939 | 7.2326675843474275 | 6.8623964312963643 | 4.5642592509162947 | 4.9514002083238307 | 4.6721052759699608 | 2.1292844574463712 | 2.3217506949510835 | 9.0738232399814134 | 6.1585862275182981 | 7.5533922997060436 | 7.4904611843187627 | 5.708854552863893 | 5.159914428712483 | 3.7002097425707898 | 1.4234466300145998 | 4.715024919331765 | 4.058581395710716 | 6.1042902340570242 | 3.6119218568636637 | 4.1393828883259491 | 3.8958450574899102 | 5.2957515002528188 | 3.7201635424718447 | 4.6225928154690097 | 6.5640229746239527 | 4.4962631295412372 | 2.8625968686319347 | 4.0126606671322431 | 4.9380087817353253 | 7.4945802727913886 | 6.364831994281321 | 4.1949675996980549 | 2.305525793472667 | 5.6531239869448493 | 3.8588229466478952 | 5.350827515036336 | 5.5188734416472496 | 1.8947217425844332 | 4.8035172070547123 | 8.7043492714315711 | 5.184633121728548
Expert | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Novice | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Split | 0

## Slide 14: Exploratory Factor Analysis (EFA)
Time
Left Hand Motions
Right Hand Motions
Ultrasound Path Length
Needle
Path Length
Factor 1
Factor 2
Ultrasound Efficiency
Needle Efficiency

## Slide 15: Metric Validity
Dataset | Metric | p-value
FAST | Completion time (s) | <0.001
 | Points missed (%) | <0.001
 | Probe path length (mm) | <0.001
Central Line | Completion time (s) | 0.002
 | Probe hand path length (mm) | 0.024
 | Needle hand path length (mm) | 0.024
 | Probe hand rotational actions | 0.056
 | Needle hand rotational actions | 0.607
 | Probe hand translational actions | 0.006
 | Needle hand translational actions | 0.002
Lumbar Puncture | Completion time (s) | <0.001
 | Left hand path length (mm) | 0.001
 | Right hand path length (mm) | 0.007
 | Needle tip path length (mm) | 0.006
 | Tissue damage (mm2) | 0.010
 | Needle path in tissue (mm) | 0.026
 | Needle time in tissue (s) | 0.022

## Slide 16: Metric Validity
Dataset | Metric | Mann-Whitney | Fisher’s Exact
FAST | Completion time (s) | <0.001 | <0.001
 | Points missed (%) | <0.001 | <0.001
 | Probe path length (mm) | <0.001 | <0.001
Central Line | Completion time (s) | 0.002 | <0.001
 | Probe hand path length (mm) | 0.024 | 0.015
 | Needle hand path length (mm) | 0.024 | 0.011
 | Probe hand rotational actions | 0.056 | 0.070
 | Needle hand rotational actions | 0.607 | 0.221
 | Probe hand translational actions | 0.006 | 0.005
 | Needle hand translational actions | 0.002 | <0.001
Lumbar Puncture | Completion time (s) | <0.001 | <0.001
 | Left hand path length (mm) | 0.001 | <0.001
 | Right hand path length (mm) | 0.007 | 0.003
 | Needle tip path length (mm) | 0.006 | 0.001
 | Tissue damage (mm2) | 0.010 | 0.001
 | Needle path in tissue (mm) | 0.026 | 0.026
 | Needle time in tissue (s) | 0.022 | 0.008

## Slide 17: Metric Correlation

## Slide 18: EFA: FAST Ultrasound

## Slide 19: EFA: Ultrasound-Guided Central Line

## Slide 20: EFA: Lumbar Puncture

## Slide 21: Representative Metrics
Dataset | Metric | Interpretation
FAST | Completion time (s) | Efficiency
 | Points missed (%) | Thoroughness
Central Line | Needle hand path length (mm) | Needle hand efficiency
 | Probe hand translational actions | Probe hand efficiency
Lumbar Puncture | Right hand path length (mm) | Landmarking efficiency
 | Needle tip path length (mm) | Needle placement efficiency
 | Tissue damage (mm2) | Needle insertion efficiency

## Slide 22: Overall Proficiency Classification
What we measure |  | Assessment
Time Instrument efficiency Hand motion Needle-tissue interaction Motion fluidity etc. |  | 
Expert Novice
Sum of Z-Scores
or
SVM

## Slide 23: Overall Proficiency Classification: FAST Ultrasound

## Slide 24: Overall Proficiency Classification: Ultrasound-Guided Central Line

## Slide 25: Overall Proficiency Classification: Lumbar Puncture

## Slide 26: Overall Proficiency Classification
Dataset | Sum of Z-Scores |  |  | Support Vector Machine |  | 
 | All AUC | Rep. AUC | p-value | All AUC | Rep. AUC | p-value
FAST | 0.84 | 0.83 | 0.45 | 0.84 | 0.84 | 0.44
Femoral Line | 1.00 | 1.00 | 0.50 | 1.00 | 1.00 | 0.50
Lumbar Puncture | 0.97 | 0.91 | 0.31 | 1.00 | 0.96 | 0.25

## Slide 27: Interpretation

## Slide 28: Conclusion
Time is insufficient for skill assessment
Application-specific metrics have added value
Skill in point-of-care ultrasound interventions is multi-faceted

## Slide 29: Thank you!
Contact: Matthew S. Holden (72mh@queensu.ca)
http://perk.cs.queensu.ca/
This work was funded, in part, by NIH/NIBIB and NIH/NIGMS via grant 1R01EB021396-01A1 - Slicer+PLUS: Point-of-Care Ultrasound and by CANARIE’s Research Software Program. Matthew S. Holden is supported by the NSERC Canada Graduate Scholarship and the Link Foundation Fellowship in Modelling, Simulation, and Training. Gabor Fichtinger is supported as a Cancer Care Ontario Research Chair in Cancer Imaging.