## Slide 1
Methods
Platform
SlicerRT is a downloadable extension to 3D Slicer (www.slicer.org)
Widely used as a software application platform in medical image computing
Already contains key functionalities
  Reading DICOM images
  Visualizing and manipulating datasets
  Advanced segmentation, registration, etc.
Free, open-source
Extensible by custom modules
Large user and developer base
Acknowledgements
Results
Introduction
SlicerRT has been made possible by funding from the Province of Ontario, Ontario Research Fund Research Excellence Program, Ontario Consortium for Adaptive Interventions in Radiation Oncology (OCAIRO), and An Applied Cancer Research Unit of Cancer Care Ontario with funds provided by the Ministry of Health and Long-Term Care. G.F. was funded as a Cancer Care Ontario Research Chair.
Features
DICOM-RT import/export: structure set, dose distribution, RT image, plan
Contour analysis
  Multiple representations (automatic conversion between them)
  Contour Comparison: Dice coefficient, Hausdorff distance
  Contour morphology
    Expand, shrink
    Logical operators
Dose analysis
  Dose volume histogram (DVH)
  Dose accumulation
  Dose comparison (gamma)
  Isodose contours / surfaces
  External beam planning
    Photon, proton
Data management
  Subject hierarchy
Background
Radiation therapy (RT) software tools are mostly either expensive and closed proprietary applications or free open-source packages with limited scope, extensibility, reliability, or user support. This limits the potentials of collaborative RT research.
Objective
SlicerRT aspires to be an open-source toolkit for RT research, providing user-friendly interface, proven algorithms, and flexibility for researchers, and a general image-guided therapy infrastructure to assist clinical translation of experimental therapeutic approaches.
Improvements in SlicerRT, the radiation therapy research toolkit based on 3D Slicer
Csaba Pinter1, Andras Lasso1, An Wang2, Gregory C. Sharp3, David Jaffray2, Gabor Fichtinger1
1Laboratory for Percutaneous Surgery, School of Computing, Queen’s University, Kingston, ON
2Radiation Medicine Program, Princess Margaret Hospital, University Health Network, Toronto, ON
3Department of Radiation Oncology, Massachusetts General Hospital, Boston, MA, USA
Design
Conclusions
SlicerRT became a complete toolkit for RT researchers by providing most frequently used features for objective comparison and analysis of RT data and allowing researchers to easily develop and share their additional custom methods. Current funding ensures continuous development for several years and we expect that other research groups will also join these efforts.
Please visit http://www.SlicerRT.org and share with us your comments, ideas, and needs.
Overview paper: Csaba Pinter, Andras Lasso, An Wang, David Jaffray, and Gabor Fichtinger, “SlicerRT: Radiation therapy research toolkit for 3D Slicer”, Med. Phys. 39 (10), October 2012
Architectural overview of SlicerRT
Improvements in the toolkit since ImNO 2013
SlicerRT Extension logo in 3D Slicer
DVH curves for different adaptations
Subject hierarchy
  Nice and intuitive way of organizing and handling data. Brings basic features in a data-centered tree view, such as
    Show/hide branch (for each type)
    Transform branch
    Create new nodes of any type
  Extendable through plugins. Broad API allowing many customizations, such as
    DICOM export
    Registration from the tree
    Parse local data storage
    Support for RT-specific features
    Creation of contour objects
    etc.
Contour conversions
  Rasterization (voxelization) of surface models to indexed labelmaps
  Direct creation of closed surface model from planar ROI contours
External beam planning
  Module for basic photon and proton beam planning
  Import of RT plans with MLC beams, import of RT images
Gel dosimetry evaluation
  “Slicelet” for step-by-step execution of a full gel dosimetry workflow
Subject hierarchy tree
Comparison of plan and calibration
Curve alignment for calibration